# Questions with Responses

- Are there programs or users already identified for this space?

  - The specific end users and/or programs of the renovation have not been fully identified at this time.

- Is FFE and commissioning part of the scope of work for this project that should be carried by the prime consultant?

  - Neither FFE nor commissioning are to be included as part of the scope of this work.

- Is there a furniture budget identified, and if so, is that included in the construction budget?

  - A furniture budget is not included as part of the construction budget and is not part of this scope of work.

- Are there any sustainability targets or goals already identified for this project?

  - There are no sustainability targets or goals associated with the project.

- Is the First-Floor slab on grade construction or is it a structural floor with basement beneath?

  - The first floor is constructed as a slab on grade with full frost walls and there is no basement beneath.

- Do you plan to remove any load-bearing walls or columns as part of the renovations?

  - No load bearing walls or columns are planned for removal at this time.  This may need to be modified if during the discovery and design process removals are deemed necessary.

- What is the construction type of the existing structure?

  - The building’s exterior walls are constructed of CMU block with brick veneer.  The second and third floors are poured concrete on steel deck on structural steel members with one row of columns running the length of the building center.  The roof is constructed with steel deck on structural steel members.

- Is there a complete set of Architectural, Structural, and MEP original construction documents that will be provided to the Design Team?

  - There is a complete set of original drawings that will be made available to the chosen design team.

- What is the approximate square footage of each level and what is the approximate square footage of the renovated spaces on each level?

  - The approximate square footage is 6,400 sf per floor.  Three full floors for a total square footage of 19,200 sf.

- Do you anticipate new roof top equipment and mechanical screening?

  - No new rooftop equipment is expected to be placed at this time, however during the discovery and design process that will be scoped out further.

- Will the project be administered by the campus or the UME System?

  - The project will be administered by the UMaine System with the assistance of local campus personnel.

- Has a construction delivery method been determined?

  - No construction delivery method has officially been determined at this time, however the method historically utilized on the campus is design-bid-build.

- Are there any parking or other site-related considerations that we should account for?

  - There are no parking or other site related issues that need to be addressed at this time.

- Are ADA upgrades anticipated?

  - There will be ADA compliance upgrades that will need to be addressed during the design process.