REQUEST FOR BID #2-06                                                                                      June 27, 2005

Administered by

UNIVERSITY OF MAINE SYSTEM

STRATEGIC PROCUREMENT DEPARTMENT

BANGOR, MAINE  04401-5765

# REQUEST FOR BIDS

# FOR EXERCISE PHYSIOLOGY LAB EQUIPMENT

FOR THE UNIVERSITY OF MAINE AT PRESQUE ISLE

1.0    GENERAL INFORMATION

1.1 	Purpose: The University of Maine System, acting through the University of Maine at Presque Isle, is seeking bids for the purchase of new exercise physiology lab equipment: a gas analysis system and a research treadmill.

1.2	Definition of Parties:  The University of Maine at Presque Isle will hereinafter be referred to as the "University."  Respondents to the RFP shall be referred to as "Bidders."  The Bidder to whom the contract is awarded shall be referred to as the "Contractor."

1.3	Alternates:  Unless otherwise provided for in this solicitation, the name of a certain brand, make or manufacturer does not restrict bidders to the specific brand, make or manufacturer named; but conveys the general style, type, character, and quality of the article desired.  Any article which the University, in its sole discretion, determines to be the equal of that specified, considering quality, workmanship, economy of operation, and suitability for the purpose intended, shall be accepted. It is the bidder's responsibility to clearly and specifically indicate the product being offered and to provide sufficient descriptive literature, catalog cuts and technical detail to enable the University to determine if the product offered meets the requirements of the solicitation.  Failure to furnish adequate data for evaluation purposes may result in declaring a bid non-responsive.  Unless the bidder clearly indicates in its bid that the product offered is an "equal" product, such bid will be considered to offer the brand name products referenced in the solicitation.

1.4	Award:  The University intends to award this bid on a schedule-by-schedule basis.  The University reserves the right to conduct any tests it may deem advisable and to make all evaluations.  The University reserves the right to reject any or all bids, in whole or in part and is not necessarily bound to accept the lowest bid if that bid is contrary to the best interests of the University.  The University reserves the right to waive minor irregularities.  Scholarships, donations, or gifts to the University, will not be considered in the evaluation of bids.  A bid may be rejected if it is in any way incomplete or irregular.  When there are tie bids, there shall be a preference for "in-state bidders".  When tie bids are both in-state or both out-of-state, the award will be made to the bid that arrives first in the Purchasing Department.

1.5	Award Protest:  Bidders may appeal the award decision by submitting a written protest to the Director of Strategic Procurement within five (5) business days of the award notice, with a copy of the protest to the successful bidder.  The protest must contain a statement of the basis for the challenge.

1.6	Debarment:  Submission of a signed bid in response to this solicitation is certification that your firm (or any subcontractor) is not currently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation in this transaction by any State or Federal department or agency. Submission is also agreement that the University will be notified of any change in this status.

1.7	Communication with the University:  It is the responsibility of the bidder to inquire about any requirement of this RFB that is not understood.  Responses to inquiries, if they change or clarify the RFB in a substantial manner, will be forwarded by addenda to all parties that have received a copy of the RFB.  Addenda will also be posted on our web site, www.umaine.edu/purchasing/.  The University will not be bound by oral responses to inquiries or written responses other than addenda.

Inquiries must be made to:	Hal Wells

Strategic Procurement Department

University of Maine System

107 Maine Avenue

Bangor, Maine 04401

(207) 973-3302

1.8	Bid Envelope:  If a special envelope is not furnished, or if return in the special envelope is not possible, the signed bid should be returned in an envelope or package, sealed and identified as follows:

From  ________________	__________	__________	__________

Name			 Due Date	   Time		 Bid No.

1.9	Submission:  A signed original plus one (1) copy of the bid must be received at the University’s Strategic Procurement Department, 107 Maine Avenue, Bangor, Maine 04401, no later than 2:00 P.M. local time Tuesday, July 12, 2005, for a public opening.  Bidders are strongly encouraged to submit bids in advance of the due date to avoid the possibility of missing the 2:00 deadline due to unforeseen circumstances.  Vendors assume the risk of the methods of dispatch chosen.  The University assumes no responsibility for delays caused by any package or mail delivery service.  Postmarking by the due date WILL NOT substitute for receipt of bid.  Bids must be date and time stamped by the Purchasing Department on time to be considered.  In the event that the University is closed due to inclement weather at the time that a bid is due, the bid will be opened at the same time on the next day that the University is open.  Vendors may wish to call 207-581-SNOW or 800-581-SNOW if the weather is bad, to learn if the University has closed.  Bids received after the due date and time will be returned unopened.  Additional time will not be granted to any single vendor, however, additional time may be granted to all vendors when the University determines that circumstances require it.  FAXED BIDS OR E-MAIL BIDS WILL NOT BE ACCEPTED.

1.10	Costs of Preparation:  Bidder assumes all costs of preparation of the bid and any presentations necessary to the bidding process.

1.11	Evaluation Criteria:  Award will be made to the low bidder provided that all other requirements are satisfactorily met.  However, consideration will be given to delivery.

1.12	Bid Understanding:  By submitting a bid, the bidder agrees and assures that the specifications are adequate, and the bidder accepts the terms and conditions herein.  Any exceptions should be noted in your response.

2.0	TERMS AND CONDITIONS

2.1	Delivery Notification:  The University shall be notified 24 hours prior to delivery so that personnel may be available to allow access to the building and verify items received.  Notification shall be made to:  Sue Beaudet at 207-768-9478.

2.2	Manuals:  The Contractor shall provide with each piece of equipment owners manual and/or maintenance instructions and parts lists.

2.3	Payments:  Payment will be upon submittal of an invoice to the Business Office, 181 Main Street, Presque Isle, Maine 04769 by the Contractor on a net 30 basis unless discount terms are offered.  Invoice must include the purchase order number.

2.4	Litigation:  This Contract and the rights and obligations of the parties hereunder shall be governed by and construed in accordance with the laws of the State of Maine.  The Contractor agrees that any litigation, action or proceeding arising out of this Contract, shall be instituted in a state court located in the State of Maine.

2.5	Transportation Charges:  Quotations must be F.O.B. Destination to the University of Maine at Presque Isle, 181 Main Street, Presque Isle, Maine 04769. Prices quoted will be considered to include all charges for transportation, packaging, crates, containers, insurance, duty and brokerage charges, etc. necessary to complete delivery.

SCHEDULE ONE

#### GAS ANALYSIS SYSTEM

#### Vacumed Vista Metabolic Measurement System or equivalent, as described below:

Includes the following:

- Mini-CPX Metabolic Analyzer

- O2 sensor, electro-chemical fuel cell

- CO2 sensor, infrared

- Permanently calibrated, bi-directional turbine flow sensor

- TurboFit-Windows Software for Exercise Stress Testing & REE

- USB Plug-and-Play data acquisition system

- Software-interfaced barometric pressure sensor

- Software-interfaced temperature sensor

- Air cushion mask starter kit

- Five year warranty on CPX; OEM warranty for computer, monitor and printer

- IBM compatible computer, 20+GB hard drive, 250MB RAM,

- 1+GHz, mouse, CD-ROM drive, 56k modem, Windows 2000 or XP

- HP Color inkjet printer

- Mobile Cart with power strip, tank basket, cable/tubing support

- Color LCD flat panel touch-screen monitor 15”

- Polar Heart Rate Watch Interface 
(ECG input also provided)

- Calibration Syringe, 3 liter

- Calibration gas ED Size, 4% CO2, 16% O2, balance N2

- Tank pressure regulator

- Professional on-site installation

- Expert on-site instruction

SCHEDULE TWO

Vacumed #13610 Large Research Treadmill or equivalent, as described below:

- Front and side rails

- 8-inch side platform

- Emergency stop button

- Manual controller

- Elevation -10 to 35%

- Speed: 1 to 28 mph (40 km/h)

- Running surface: 5' x 8' (152cm x 245cm)

- 240V/3-phase power/30 amp

- RS232 Interface

- Weight Bearing: 600 pounds

- Controlled by its own control panel or by VacuMed’s

- TurboFit exercise manager software: Windows-based software provides PC-control and creates custom workouts and graphs and records watts, heart rate plus many other variables.

Note: This specification includes the following VacuMed options:

#13610-1	Crating 120”L x 55”H x 98”W, 3,500 pounds

#13610-2	RS232 Interface

#13610-3	Negative Elevation (-10 to +30%)

#13610-4	Programmable Controller

#13610-5	Speed Increase to 28 miles per hour

313610-6	Overhead suspension kit for sampling lines, patient cables

#.07026	Cable, RS232, 25 feet

4.0	PRICE QUOTATION

SCHEDULE ONE

Vacumed Vista Metabolic Measurement System or equivalent

4.1	Purchase Price	$

FOB Destination, Freight included

4.2	Lead Time:  State the number of days to delivery after receipt of the order:

4.3	Provide warranty information, both on parts and labor, applying to all equipment that may be purchased as a result of this Request for Bid.  This would include units/components not manufactured by the seller.

SCHEDULE TWO

Vacumed #13610 Large Research Treadmill or equivalent

4.3	Purchase Price	$

FOB Destination, Freight included

4.4	Lead Time:  State the number of days to delivery after receipt of the order:

4.5	Provide warranty information, both on parts and labor, applying to all equipment that may be purchased as a result of this Request for Bid.  This would include units/components not manufactured by the seller.

5.0	SIGNATURE:

COMPANY NAME:

By:

(Signature)

(Print Name)

(Title)

(Date)

Advertise in the Bangor Daily News

Vendor List

TRI-ANIM  
13170 TELFAIR AVE  
SYLMAR, CA 91342  
PH: 800-874-2646

FX: 818-364-0998

VacuMed

4538 Westinghouse Street

Ventura, CA

800-235-3333