REQUEST FOR BID #12-06	September 26, 2005

Administered by

- UNIVERSITY OF MAINE SYSTEM

- STRATEGIC PROCUREMENT DEPARTMENT

- BANGOR ME  04401

# EQUIPMENT BID FOR

# ONE PORTABLE CATERPILLAR OLYMPIAN

# MODEL D150P6 DIESEL PACKAGE GENERATOR SET

# FOR THE UNIVERSITY OF MAINE AT FARMINGTON

1.1	The University of Maine System, acting on behalf of the University of Maine at Farmington, is seeking quotes for a portable generator set to be purchased in accordance with the following specifications.

For reference, the University of Maine System will hereinafter be referred to as the "University."  Each firm responding to this Request for Bid will be referred to as the "Bidder", and the bidder selected to provide equipment to the University will be referred to as the "Contractor."

1.2 	Purpose:  To provide portable, temporary emergency power generation capabilities for the University of Maine at Farmington.

1.3	Alternates: The University will not accept substitutes for the equipment specified.

1.4	Award:  The University reserves the right to conduct any tests it may deem advisable, and to make all evaluations.  The University reserves the right to reject any or all bids, in whole or in part, and is not necessarily bound to accept the lowest bid if that bid is contrary to the best interests of the University.  The University reserves the right to waive minor irregularities.  Scholarships, donations, or gifts to the University will not be considered in the evaluation of bids.  A bid may be rejected if it is in any way incomplete or irregular.  When there are tie bids, there shall be a preference for “in-state bidders”.  When tie bids are both in-state or both out-of-state, the award will be made to the bid that arrives first in the Strategic Procurement Department.

1.5	Debarment:  Submission of a signed bid in response to this solicitation is certification that your firm (or any subcontractors) is not currently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation in this transaction by any Federal department or agency. Submission is also agreement that the University will be notified of any change in this status until such time as an award has been made.

1.6	Communication with the University:  It is the responsibility of the bidder to inquire about any requirement of this RFB that is not understood.  Responses to inquiries, if they change or clarify the RFB in a substantial manner, will be forwarded by addenda to all parties that have received a copy of the RFB.  The University will not be bound by oral responses to inquiries or written responses other than addenda.

Inquiries must be made to:	Hal Wells

Strategic Procurement Department

University of Maine System

16 Central Street

Bangor, Maine 04401

(207) 973-3203

1.7	Bid Envelope:  The signed bid should be returned in an envelope or package, sealed and identified as follows:

From  ________________	__________	__________	__________

Name			 Due Date		   Time			  Bid No.

1.8	Submission:  A signed original plus one (1) copies of the bid must be received at the Strategic Procurement Department, 16 Central Street, Bangor, Maine 04401, no later than 2:00 P.M. local time Wednesday, October 12, 2005, for a public opening.  Bidders are strongly encouraged to submit bids in advance of the due date to avoid the possibility of missing the 2:00 deadline due to unforeseen circumstances.  Vendors assume the risk of the methods of dispatch chosen.  The University assumes no responsibility for delays caused by any package or mail delivery service.  Postmarking by the due date WILL NOT substitute for receipt of bid.  Bids must be date and time stamped by the Procurement Department on time to be considered.  Bids received after the due date and time will be returned unopened.  Additional time will not be granted to any single vendor, however, additional time may be granted to all vendors when the University determines that circumstances require it.  FAXED BIDS OR E-MAIL BIDS WILL NOT BE ACCEPTED.

1.9	Costs of Preparation:  Bidder assumes all costs of preparation of the bid and any presentations necessary to the bidding process.

1.10	Evaluation Criteria:  Bids will be evaluated on many criteria deemed to be in the University's best interests, including, but not limited to: cost, service, delivery, ability to meet specifications, warranty terms.

1.11	Bid Understanding:  By submitting a bid, the bidder agrees and assures that the specifications are adequate, and the bidder accepts the terms and conditions herein.  Any exceptions should be noted in your response.

2.0	TERMS AND CONDITIONS

2.1	Delivery:  Delivery will be made to 147 Farmington Falls Road, Farmington, ME 04938.

2.2	Delivery Notification: The University shall be notified two work days prior to delivery so that personnel may be available to allow access to the building and verify items received.  Notification shall be made to: Bob Lawrence 778-7009.

2.3	Manuals:  The Contractor shall provide an owner’s manual and/or maintenance instructions and parts lists with each piece of equipment.

2.4	Payments:  Payment will be upon submittal of an invoice to the University by the Contractor on a net 30 basis unless discount terms are offered.  The invoice will be sent to the address provided on the purchase order.  Invoice must include the purchase order number.

3.0	STANDARDS OF MATERIALS

All materials, devices, and equipment shall be new.  Where standards have been established by the following, the unit shall conform to those standards as to quality, fabrication, application, and be not less than further required under this specification.

Underwriters Laboratories, Inc. (UL).

National Electrical Manufacturers Association (NEMA).

American National Standards Association (ANSI).

National Fire Protection Association (NFPA).

Occupational Safety and Health Administration (OSHA).

4.0	SPECIFICATIONS

One (1) new outdoor Caterpillar Olympian series model D150P6 diesel fueled package generator set rated 150 KW for emergency standby service at 120/208 volts, 3-phase, 4-wire, 60 Hz, 1800 rpm including the following accessories:

  - EPA Certified diesel engine, as required for mobile applications

  - DOT approved trailer mounted with integral 200 gallon double walled fuel tank

  - Structural steel base with linear vibration isolators

  - Unit mounted radiator

  - Unit mounted automatic start/stop control panel

  - Electronic isochronous governor, 0.25% regulation

  - Lead acid battery set with rack and cables, mounted

  - Battery charger, 5 amp rated, mounted

  - Jacket water heater

  - Unit mounted main circuit breaker, rated 600 amps

  - Stainless steel flexible exhaust connector

  - Exhaust silencer, installed within generator enclosure

  - Sheet metal weather protective generator

  - Initial fill of lubricating oil and anti-freeze coolant solution

  - Formal start up of the generator system

  - Warranty will be two years from date of start up

5.0	SUBMISSION REQUIREMENTS

5.1	Service:  The service and engineering support available must be described, with costs specified for:

5.1.1	Service contract agreement that would be effective upon warranty expiration.

5.1.2	Individual service calls as required.

5.1.3	Spare parts for which local stocking is recommended.

5.2	Transportation Charges:  Quotations for purchased equipment must be F.O.B. Destination. Prices quoted will be considered to include all charges for transportation, packaging, crates, containers, insurance, duty and brokerage charges, etc. necessary to complete delivery on a F.O.B. Destination basis.

5.3	Warranty: Warranty will be two years from date of start up.  Provide warranty information, both on parts and labor, applying to all equipment that may be purchased as a result of this Request for Bid.  This would include units/ components not manufactured by the seller.

5.4	Lead Time:  State the number of days to delivery after receipt of the order:

5.5	Price Quotation

5.5.1	Configuration A:  One (1) outdoor Caterpillar Olympian series model D150P6 diesel fueled package generator as described above.

Cost  			$____________________________

FOB delivered

Configuration B:  The same unit configured with a sound attenuated generator enclosure, in lieu of the standard weather protective enclosure

Cost  			$____________________________

FOB delivered

5.5.2	Temporary power leads, 4/0 DLO cable, rated 400 amps per strand.  2 cables per phase and neutral provided.  100’ overall length.

Cost  			$____________________________

FOB delivered