## Sheet1
BUILDING | DISCRIPTION | Serial # | IN SERVICE | INSPECTIONS
FORT KENT CAMPUS |  |  |  | Annual
ARMORY | Boiler # 1: AFS/Hurst wood pellet hot water boiler, HBC 1300564, H 12705 | F3830-60W-2 |  | Annual
ARMORY | Boiler # 2: AFS/Hurst wood pellet hot water boiler, HBC 1300563, H 12707 | F3830-60W-1 |  | Annual
ARMORY | Silo # 1 pellet auger |  |  | Annual
ARMORY | Silo # 2 pellet auger |  |  | Annual
ARMORY | Fuel Metering Bin and fire protection valve |  |  | Annual
ARMORY | Boiler # 1 Stoker Auger w/Rotary Valve and fire protection valve |  |  | Annual
ARMORY | Boiler # 2 Stoker Auger w/Rotary Valve and fire protection valve |  |  | Annual
ARMORY | Boiler # 1 Air Compressor, Ingersoll Rand, Model # 2340, PV 14411 | 1208970 |  | Annual
ARMORY | Boiler # 2 Air Compressor, Ingersoll Rand, Model # 2320, PV 15136 | NAR 10060519 |  | Annual
ARMORY | Boiler # 1 Hydraulic Pump |  |  | Annual
ARMORY | Boiler # 2 Hydraulic Pump |  |  | Annual
ARMORY | Boiler # 1 Moving Grates |  |  | Annual
ARMORY | Boiler # 2 Moving Grates |  |  | Annual
ARMORY | Boiler # 1 Ash Augers (horizontal and incline) |  |  | Annual
ARMORY | Boiler # 2 Ash Augers (horizontal and incline) |  |  | Annual
ARMORY | Boiler # 1 Multi-Cyclone |  |  | Annual
ARMORY | Boiler # 2 Multi-Cyclone |  |  | Annual
ARMORY | Boiler # 1 Stack |  |  | Annual
ARMORY | Boiler # 2 Stack |  |  | Annual
ARMORY | Make-Up Air Fan # 1 and Drive |  |  | Annual
ARMORY | Make-Up Air Fan # 2 and Drive |  |  | Annual
ARMORY | Boiler # 1 Under-Grate Air Fan |  |  | Annual
ARMORY | Boiler # 2 Under-Grate Air Fan |  |  | Annual
ARMORY | Boiler # 1 Over-Fire Air Fan |  |  | Annual
ARMORY | Boiler # 2 Over-Fire Air Fan |  |  | Annual
ARMORY | System Pump # 1 and Drive |  |  | Annual
ARMORY | System Pump # 2 and Drive |  |  | Annual
ARMORY | Mini-Split # 1 serving IT closet |  |  | Annual
ARMORY | Pad-Mount condenser for AHU # 1 Trane XR17, Model #4TTR7060A1000AA |  |  | Annual
ARMORY | Pad-Mount condenser for AHU # 2 Trane XR17, Model #4TTR7048A1000AA |  |  | Annual
ARMORY | Mini-Split # 2 roof mounted FUJITSU, model # AOU24RLXFZ | LUN050966 |  | Annual
ARMORY | Mini-Split # 3 roof mounted FUJITSU, model # AOU24RLXFZ | LUN050640 |  | Annual
ARMORY | AHU # 1 Trane |  |  | Annual
ARMORY | AHU # 2 Trane |  |  | Annual
ARMORY | HRU # 1 Renew Air Model EV300 |  |  | Annual
ARMORY | HRU # 2 Renew Air Model EV300 |  |  | Annual
SPORTS CENTER | LIN-KA wood pellet hot water boiler by Danstoker of Norway, 650 KW, year 2012, H 12738, 2.2 MM BTU |  |  | SemiAnnual
SPORTS CENTER | LIN-KA igniter DANHEAT type VVS2000, product # 506863, oil pump Danfoss Bio 10 CCW rotation, BFP 21 R3 |  |  | Annual
SPORTS CENTER | LIN-KA Auger motor # 1 from FMB |  |  | Annual
SPORTS CENTER | LIN-KA Auger motor # 2 from FMB |  |  | Annual
SPORTS CENTER | LIN-KA Silo Discharge Motor # 1 |  |  | Annual
SPORTS CENTER | LIN-KA Silo Discharge Motor # 2 |  |  | Annual
SPORTS CENTER | LIN-KA Stoker Motor |  |  | Annual
SPORTS CENTER | LIN-KA Induced Draft Fan belt # XPZ1012/3VX400 |  |  | Annual
SPORTS CENTER | LIN-KA Induced Draft Fan Motor Baldor Cat. # EMM3709 |  |  | Annual
SPORTS CENTER | LIN-KA Incline Ash Auger Motor Baldor Cat. # VW3542 |  |  | Annual
SPORTS CENTER | LIN-KA Horizontal Ash Auger Motor Baldor Cat.# VM3538 |  |  | Annual
SPORTS CENTER | LIN-KA Under-Fire Air Fan Motor Cincinnati Fan Model # PB-12A | 1203509 |  | Annual
SPORTS CENTER | LIN-KA Over-Fire Air Fan # 1 Motor Cincinnati Fan Model # PB-12A | 1203509 |  | Annual
SPORTS CENTER | LIN-KA Over-Fire Air Fan # 2 Motor Cincinnati Fan Model # LMF-4 | 1203793 |  | Annual
SPORTS CENTER | Quincy Air Compressor, Model # QT5, P/N BMQT5VT-476076, date 20 May 2011 |  |  | Annual
SPORTS CENTER | H.B. Smith 350 Mills, # 2 oil @ 22.5 GPH, hot water boiler, 1973, 13 sections, 2.1 MM BTU, FulFlo oil filter FB10-3/8 |  |  | Annual
SPORTS CENTER | Make-up Air Fan |  |  | Annual
SPORTS CENTER- TRAINING ROOM | Sanyo Mini-Split A/C, model # CL1251 | 00011552 |  | Annual
SPORTS CENTER- MEZZANINE | HV # 1, Gymnasium, 2 belts B103, (20) 20x25x2, (4) 16x25x2 pleated air filters |  |  | Annual
SPORTS CENTER- MEZZANINE | HV # 2, locker rooms, (1) belt A 48, (4) 16x25x2 pleated air filters |  |  | Annual
SPORTS CENTER- MEZZANINE | HVMZ # 3, offices/classrooms, (2) belts B70, (8) 16x25x2, (4) 20x25x2 pleated air filters |  |  | Annual
SPORTS CENTER-BOILER ROOM | Domestic Hot Water Recirculation Pump Taco , Bronze cartridge pump |  |  | Annual
SPORTS CENTER-BOILER ROOM | Baseboard circulator pump # 1 |  |  | Annual
SPORTS CENTER-BOILER ROOM | Baseboard circulator pump # 2 |  |  | Annual
SPORTS CENTER-BOILER ROOM | HV circulator pump # 1 to Mezzanine |  |  | Annual
SPORTS CENTER-BOILER ROOM | HV circulator pump # 2 to mezzanine |  |  | Annual
SPORTS CENTER-BOILER ROOM | Primary circulator pump # 1 |  |  | Annual
SPORTS CENTER-BOILER ROOM | Primary circulator pump # 2 |  |  | Annual
SPORTS CENTER-BOILER ROOM | Domestic Hot Water Heater Supply Pump, Baldor Cat. # VM3104 |  |  | Annual
THE LODGE-AIR HANDLING | HRU 1 - (1)4L380 and (1)4L420 belts, (8)20x20x2 pleated filters |  |  | Annual
THE LODGE-AIR HANDLING | HRU 2 - (1)4L410 and (1)4L420 belts, (8)20x20x2 pleated filters |  |  | Annual
THE LODGE-AIR HANDLING | HRU 3 - (2)4L410 belts, (8)20x20x2 pleated filters |  |  | Annual
THE LODGE-AIR HANDLING | McQuay Chiller |  |  | Annual
THE LODGE-AIR HANDLING | Chilled water pump # 1 |  |  | Annual
THE LODGE-AIR HANDLING | Chilled water pump # 2 |  |  | Annual
THE LODGE-AIR HANDLING | Domestic hot water recirculation pump - Bell & Gossett PL-308 |  |  | Annual
THE LODGE-AIR HANDLING | Lodge underground loop from Sports Center pump # 1Motor Baldor EJMM3158T |  |  | Annual
THE LODGE-AIR HANDLING | Lodge underground loop from Sports Center pump # 1 Taco KV2005 |  |  | Annual
THE LODGE-AIR HANDLING | Domestic Hot water zone circulator Bell & Gossett |  |  | Annual
THE LODGE-AIR HANDLING | Primary heat pumps serving building zones, pumps # 1 and # 2 |  |  | Annual
THE LODGE-AIR HANDLING | Make-up air fan Twin City Fan Company |  |  | Annual
THE LODGE-AIR HANDLING | Lodge oil boiler, HB Smith 19A-S/W10 |  |  | Annual
THE LODGE-AIR HANDLING | Oil filter FW Webb Model # 77FW |  |  | Annual
THE LODGE-AIR HANDLING | Honeywell burner oil primary control # R7284 |  |  | Annual
THE LODGE-AIR HANDLING | Carlin 702CRD oil burner |  |  | Annual
CROCKER HALL | Heat exchanger |  |  | Annual
CROCKER HALL | Heat exchanger Pump 1 |  |  | Annual
CROCKER HALL | Heat exchanger Pump 2 |  |  | Annual
CROCKER HALL- SERVER ROOM | Mini Split System |  |  | Annual
NOWLAND HALL | Office Mini Split System |  |  | Annual
NOWLAND HALL | Heat exchanger |  |  | Annual
NOWLAND HALL | Heat exchanger Pump 1 |  |  | Annual
NOWLAND HALL | Heat exchanger Pump 2 |  |  | Annual
NOWLAND HALL | AHU 1 |  |  | Annual
NOWLAND HALL | AHU 2 |  |  | Annual
NOWLAND HALL | AHU 3 |  |  | Annual
NOWLAND HALL | Walk-in Cooler #1 |  |  | Annual
NOWLAND HALL | Walk-in Cooler #2 |  |  | Annual
NOWLAND HALL | Walk-in Cooler #3 |  |  | Annual
FACILITIES | Heat exchanger |  |  | Annual
FACILITIES | Heat exchanger Pump 1 |  |  | Annual
FACILITIES | Heat exchanger Pump 2 |  |  | Annual
FOX BENGAL KITCHEN | Upright Freezer |  |  | Annual
FOX BENGAL KITCHEN | Refrigerator |  |  | Annual
FOX BENGAL KITCHEN | Chest Freezer |  |  | Annual
CYR HALL | Oil Boiler #1 |  |  | Annual
CYR HALL | Oil Boiler #2 |  |  | Annual
CYR HALL | Pump 1 Heat Exchanger |  |  | Annual
CYR HALL | Pump 2 Heat Exchanger |  |  | Annual
CYR HALL | Pump 3 Heat Exchanger |  |  | Annual
CYR HALL | Pump 4 Heat Exchanger |  |  | Annual
CYR HALL | Heat Exchanger #1 |  |  | Annual
CYR HALL | Heat Exchanger #2 |  |  | Annual
CYR HALL SECOND FLOOR | RTU #1 |  |  | Annual
CYR HALL SECOND FLOOR | RTU #2 |  |  | Annual
CYR HALL BOOK STORE | RTU |  |  | Annual
CYR HALL SERVER ROOM #1 | A/C Split |  |  | Annual
CYR HALL SERVER ROOM #2 | A/C mini split heat pump |  |  | Annual
NADEAU HALL | RTU #1 |  |  | Annual
NADEAU HALL | RTU #2 |  |  | Annual
NADEAU HALL | RTU #3 |  |  | Annual
NADEAU HALL | RTU #4 |  |  | Annual
NADEAU HALL | RTU #5 |  |  | Annual
NADEAU HALL TELE CONFERENCE ROOM | A/C mini split heat pump |  |  | Annual
BLAKE LIBRARY | Oil Fire Boiler #1 |  |  | Annual
BLAKE LIBRARY | Oil Fire Boiler #2 |  |  | Annual
BLAKE LIBRARY | Heat Exchanger Pump #1 |  |  | Annual
BLAKE LIBRARY | Heat Exchanger Pump #2 |  |  | Annual
BLAKE LIBRARY | Heat Exchanger Pump #3 |  |  | Annual
BLAKE LIBRARY | Heat Exchanger Pump #4 |  |  | Annual
BLAKE SERVER ROOM SECOND FLOOR | A/C Mini Split #1 |  |  | Annual
BLAKE SERVER ROOM | A/C Mini Split #2 |  |  | Annual
BLAKE SERVER ROOM | A/C Mini Split |  |  | Annual
BLAKE | Heat exchanger |  |  | Annual
POWELL HALL | Heat Pump Outside Unit #1 |  |  | Annual
POWELL HALL | Heat Pump Outside Unit #2 |  |  | Annual
POWELL HALL | Heat Pump Outside Unit #3 |  |  | Annual
POWELL HALL | Steam Boiler |  |  | Annual
POWELL HALL | Heat exchanger |  |  | Annual
POWELL HALL | Heat exchanger Pump 1 |  |  | Annual
POWELL HALL | Heat exchanger Pump 2 |  |  | Annual
POWELL HALL SECOND FLOOR | Server Room Mini Split |  |  | Annual