## Sheet1
[6 empty] | ELECTRICAL |  |  |  | PIPED UTILITIES
ROOM # | TAG # | COMMON NAME | MANUFACTURER | MODEL | COUNT | Voltage | Phase | FLA | CONNECTION | NATURAL GAS | NG Load (BTU) | COMPRESSED AIR | WATER (PSI) | DRAIN (GPM) | Price/Each | Total Price
105107 | OV | COMBI OVEN | RATIONAL | ICP 20 FULL NG | 2 | 480 | 3 | 81.7 | Disconnect | 6.5-10" | 303500 | NONE | 14.58 | 3.17
105107 | FP | FOOD PROCESSOR | ROBOT COUPE | R23T | 2 | 208 | 3 | 12.42 | NEMA L15-30P | NONE | 0 | NONE | NONE | NONE
105106107 | FRZ | FREEZER 2-DOOR | ARTIC AIR | AF49 | 3 | 120 | 1 | 12 | NEMA 5-15P | NONE | 0 | NONE | NONE | NONE
105107 | MXR | MIXER, FLOOR, 40QT | EURODIB USA | M40A 220ETL | 2 | 208 | 3 | 5 | Disconnect | NONE | 0 | NONE | NONE | NONE
105107 | RNG | RANGE AND OVEN GAS | ATOSA USA INC | AGR-6B-NG | 2 | 0 | 0 | 0 | NA | 4-5" | 219000 | NONE | NONE | NONE
105106107 | REF | REFRIGERATOR-2 DOOR | ARTIC AIR | AR49 | 3 | 120 | 1 | 4.5 | NEMA 5-15P | NONE | 0 | NONE | NONE | NONE
105106107 | TBL5 | TABLE, 5FT MOBILE SS | BK RESOURCES | VTT-6030 | 16 | 0 | 0 | 0 | NA | NONE | 0 | NONE | NONE | NONE
105106107 | WB | WASTE BIN | TBD | TBD | 9 | 0 | 0 | 0 | NA | NONE | 0 | NONE | NONE | NONE
106 | IND | INDUCTION COOKTOP | HATCO | IRNG-PC2F-24-1A | 3 | 208 | 1 | 8.66 | NEMA 6-20P | NONE | 0 | NONE | NONE | NONE
106 | MIC | MICROWAVE | SHARP | R-21LCFS | 1 | 120 | 1 | 14 | NEMA 5-15P | NONE | 0 | NONE | NONE | NONE
106 | TBL4 | TABLE, 4FT MOBILE SS | BK RESOURCES | VTT-4830 | 3 | 0 | 0 | 0 | NA | NONE | 0 | NONE | NONE | NONE
107 | BCH | BLAST CHILLER | AMERICAN PANEL | AP20BCF200-3 | 1 | 208 | 3 | 19.5 | Disconnect | NONE | 0 | NONE | NONE | NONE
107 | KTL | KETTLE, ELECTRIC 40 GAL | GROEN | TDBC-40C | 1 | 208 | 3 | 30 | Disconnect | NONE | 0 | NONE | 40 | 8
107 | STR | STORAGE CABINET | ADVANCE TABCO | HK-SS-243 | 2 | 0 | 0 | 0 | NA | NONE | 0 | NONE | NONE | NONE
107 | SKL | TILTING SKILLET,ELECT 18GAL | FIREX | UCBTE018V1 | 1 | 208 | 3 | 24.5 | Disconnect | NONE | 0 | NONE | 40 | 8
TOTAL
FUTURE
105 | KTL | KETTLE, ELECTRIC 40 GAL | GROEN | TDBC-40C | 1 | 208 | 3 | 30 | Disconnect | NONE | 0 | NONE | 40 | 8
107 | HFL | HOT FILL LINE | APEX FILLING SYS | TBLETOIP PISTON FILLER | 1 | 0 | 0 | 0 | NA | NONE | 0 | 2-4CFM | NONE | NONE
Estimated Shipping/Delivery:
TOTAL